## 1. Design & Maintenance Options
Green Roof
Site Name:
Site Location:
Date:
Design & Maintenance Options
ROOF CHARACTERISTICS | Unit | Model Default | User | Chosen Option
Roof Area (RA) | sq ft | 10000 |  | 10000
Building Height | Stories | 4 |  | 4
DESIGN & MAINTENANCE OPTIONS | Unit | Model Default | User | Chosen Option
Primary Roof Function ("O"; Operational, only basic costs are added to achieve basic Green Roof benefits. "P"; Promotional or Aesthetics and social environment enhancement. "P" assumes a more elaborate installation. See below for details.) | - | O |  | O
Irrigation Needed? (N = no, Y=yes, if P is elected above, Y is assumed) | - | N |  | N
Choose Level of Maintenance ("H"=high; "M"=medium; "L"=low) | - | M |  | M
WHOLE LIFE COST OPTIONS | Unit | Model Default | User | Chosen Option
Discount Rate | % | 5.5 |  | 5.5
Note: Except for user entered cells, all Worksheets are Locked. If you wish to unlock any worksheet, right-click on that sheet's tab at the bottom of the sheet and select "unprotect".
Primary Roof Function
Assumptions for "Operational" Roof Function | Assumptions for "Promotional or Aesthetic" Roof Function
Option A (modular green roof assembly), "operational" design type, assumes standard modular installation (some manufactures may offer a light or extra-light product, and may cost less); option B (non-modular custom green roof), "operational" design type, assumes basic Sedum species mat with growth media incorporated. Both "operational" design types assume no botanical upgrades, irrigation, or access patios. All assumptions and their associated costs can be modified on the "Capitol Costs" page. | Option A (modular green roof assembly), "Promotional or Aesthetic" design type, assumes basic modular installation; option B (non-modular custom green roof), "Promotional or Aesthetic" design type assumes 6" engineered growth media with Sedum mat. Both "Promotional or Aesthetic" installation types assume a modest botanical upgrade, irrigation, and 10% roof coverage of access patios. All assumptions and their associated costs can be modified on the "Capitol Costs" page.

## 2.Capital Costs
Green Roof |  |  | Choose Capital Costing Option
CAPITAL COSTS |  | A | Total Facility Cost | 203500
Site Name: | O | User entered 'Operational' in Roof Function on Design Options
Site Location: | "A" - Simple Cost Based on Modular Green Roof Assembly Package for a Flat Roof and Roof Area
Date: | Assembly Package for a Flat Roof and Roof Area
"B" - Simple Cost Based on Basic Non-Modular Custom Installations for a Flat Roof
Custom Installations for a Flat Roof
"C" - User-Entered Engineer's Estimate for a
Custom Design Roofing System
Method A: Simple Cost Based on Modular Green Roof Assembly Package for a Flat Roof and Roof Area
Cost based on Roof Area |  | Model Default | User | Chosen Option
Roof Area (SF) |  | 10000 |  | 10000
Estimated Basic Modular Roof Components Cost per SF |  | 19.5 |  | 19.5
Base Facility Cost (rounded up to nearest $100) |  | 195000 |  | 195000
Cost Adjustment for Smaller Projects |  | 0 |  | 0
Cost Adjustment for Heights Above 5 Stories |  | 0 |  | 0
Delivery Costs, Total |  | 8500 |  | 8500
Resulting Base Cost per SF |  | 20.35 |  | 20.35
Basic Roof Installation Cost |  | 203500 |  | 203500
Roof Design Options
Note: All landscape upgrades apply additional weight. It is critical to insure that your roof can support this added weight. Structural inspection or reinforcement costs are not shown here.
Irrigation ($/SF) |  | 0 |  | 0
Ornate or Designer Plants ($/SF) |  | 0 |  | 0
Walking Surface (SF) |  | 0 |  | 0
Walking Surface ($ per SF) |  | 8.5 |  | 8.5
Leveling Jacks for Walkways (per SF of walkway) |  | 20 |  | 20
Total Cost of Walkways |  | 0 |  | 0
Total Landscaping Options Costs |  | 0 |  | 0
Total Facility Cost |  | 203500 |  | 203500
Method B: Simple Cost Based on Basic Non-Modular Custom Installations for a Flat Roof
Cost based on Roof Area |  | Model Default | User | Chosen Option
Roof Area (SF) |  | 10000 |  | 10000
Estimated Cost of Gravel Drain Layer |  | 0 |  | 0
Estimated Cost of Root Barrier ($ per SF) |  | 2.25 |  | 2.25
Estimated Cost of Basic Plant Selection ($ per SF) |  | 2.5 |  | 2.5
Labor Costs ($ per SF) |  | 4 |  | 4
Resulting Base ($ per SF) |  | 8.75 |  | 8.75
Base Facility Cost (rounded up to nearest $100) |  | 87500 |  | 87500
Default Cost Adjustment for Smaller Projects |  | 0 |  | 0
Cost for Heights Above 5 Stories |  | 0 |  | 0
Design Costs |  | 4375 |  | 4375
Basic Roof Installation Cost |  | 91875 |  | 91875
Roof Design Options
Note: All landscape upgrades apply additional weight. It is critical to insure that your roof can support this added weight. Structural inspection or reinforcement costs are not shown here.
Irrigation ($/SF) |  | 0 |  | 0
Ornate or Designer Plants ($/SF) |  | 0 |  | 0
Estimated Cost of Growth Medium ($ per SF) |  | 2 |  | 2
Walking Surface (SF) |  | 0 |  | 0
Walking Surface ($ per SF) |  | 8.5 |  | 8.5
Leveling Jacks for Walkways (per SF of walkway) |  | 20 |  | 20
Total Cost of Walkways |  | 0 |  | 0
Total Landscaping Options Costs |  | 10000 |  | 10000
Total Facility Cost |  | 101875 |  | 101875
Method C: User-Entered Engineer's Estimate for a Custom Design Roofing System
Select from the following list, as applicable to the project or facility type; add items where necessary.
Total Facility Base Costs | Unit | Unit Cost | Quantity | Cost
Roof Area (SF) |  |  | 10000
Root Barrier | SF |  |  | 0
Impermeable Layer | SF |  |  | 0
Gravel Drain Layer | CF |  |  | 0
Growing Medium | CF |  |  | 0
Underdrains | EA |  |  | 0
Overflow Structure/ Down Drain | EA |  |  | 0
Irrigation | SF |  |  | 0
Access paths | LF |  |  | 0
Walkways/Patio Space | SF |  |  | 0
Landscaping Materials | EA |  |  | 0
Lifting of Materials to Roof | % of total |  |  | 0
Landscaping Labor | HR |  |  | 0
Other |  |  |  | 0
Other |  |  |  | 0
Other |  |  |  | 0
Total Facility Base Cost |  |  |  | 0
Associated Capital Costs | Unit | Unit Cost | Quantity | Cost
Project Management | LS |  |  | 0
Engineering: Preliminary | LS |  |  | 0
Engineering: Final Design | LS |  |  | 0
Delivery | LS
Traffic Control | LS
Landscape Design | LS |  |  | 0
Legal Services | LS |  |  | 0
Permitting Fees | LS |  |  | 0
Construction Inspection | LS |  |  | 0
Sales Tax | LS |  |  | 0
Contingency (e.g., 30%) | LS |  |  | 0
Other |  |  |  | 0
Other |  |  |  | 0
Other |  |  |  | 0
Total Associated Capital Costs |  |  |  | 0
Total Facility Cost |  |  |  | 0
Note on A13: Based on average of two quotes from modular green roof manufacturers. Includes basic installation.
Note on A15: Smaller projects (less than 4000 SF) generally incur higher unit costs for many components; factor added to adjust.
Note on A16: A crane is assumed necessary for buildings over 5 stories, cost factor added to adjust.
Note on A17: $.85 per square foot based on standard delivery less than 200 mi from a nursery.
Note on A22: If A or P are selected in Design Options, irrigation for botanical upgrade assumed. See References page for more information.
Note on A23: If A or P are chosen on Design Options, a botanical upgrade is assumed. Adjust in User Column as necessary. Base value for Ornate or Designer plants is $10.00 additional per sq ft. See References page for more information.
Note on A24: If A or P are chosen in Design Options, 5% of Roof Area is assumed for walkways. See References page for more information.
Note on A25: Cost Based on Cement Pavers. See References page for more information.
Note on A26: Leveling jacks may be necessary under walkways depending on structural design of roofs and supports. See References page for more information.
Note on A34: This layer is only required in some climates and so no cost is assumed. If regulations require this layer and aproximate costs are known, enter the cost in column D.
Note on A35: Based on Literature Review. See Reference page for more information
Note on A36: Standard Plant Selection is considered Sedum mat with no added components. Some products available require additional growth media (This model assumes a 6" growth media is required), however, products are available that may cost slightly more per area and include growth media.
Note on A37: $4 per sf assumed if "O" is selected, $8 per sf is assumed if "P" is selected.
Note on A40: Smaller projects (less than 4000 SF) generally incur higher unit costs for many components; factor added to adjust.
Note on A41: Cost of lifting materials over 5 stories increases costs, adjustment factor added.
Note on A46: If A or P are selected in Design options, Irrigation for botanical upgrade assumed.
Note on A47: If A or P are chosen on Design Options, Botanical Upgrade is assumed. Adjust in User Column as necessary. Base value for Ornate or Designer plants is $10.00 additional per sq ft.
Note on A48: Operational installments assume 5" of engineered growth media. If any botanical upgrades are desired, this cost must be increased, and 8" are assumed for this estimate.
Note on A49: If A or P are chosen in Design Options, 5% of Roof Area is assumed for walkways.
Note on A50: Cost Based on Cement Pavers.
Note on A51: Leveling jacks may be necessary under walkways depending on structural design of roofs and supports.

## 3.Maintenance Costs
| Green Roof |  |  | M | User entered 'MEDIUM' maintenance level in Sheet 1.
| Site Name: |  |  | ** Change on Sheet 1 if desired/applicable **
Site Location:
Date:
| Maintenance Costs | [17 empty] | User may enter lump sum here
Lookup ID | ROUTINE MAINTENANCE ACTIVITIES (Frequent, scheduled events)
| Cost Item | Frequency (months betw. maint. events) |  |  | Hours per Event |  |  | Average Labor Crew Size |  |  | Avg. (Pro-Rated) Labor Rate/Hr. ($) |  |  | Machinery Cost/Hour ($) |  |  | Materials & Inciden-tals Cost/Event ($) |  |  | Total cost per visit ($)
|  | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input
1.1 | Inspection, Reporting & Information Management | 6 |  | 6 | 4 |  | 4 | 1 |  | 1 | 65 |  | 65 | 0 |  | 0 | 0 |  | 0 | 260 |  | 260
1.2 | Vegetation Management | 6 |  | 6 | 10 |  | 10 | 2 |  | 2 | 30 |  | 30 | 0 |  | 0 | 0 |  | 0 | 600 |  | 600
1.3 | Irrigation Repair | 6 |  | 6 | 10 |  | 10 | 2 |  | 2 | 30 |  | 30 | 0 |  | 0 | 0 |  | 0 | 600 |  | 600
1.4 | add additional activities if necessary | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 600
1.5 | add additional activities if necessary | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Lookup ID | CORRECTIVE AND INFREQUENT MAINTENANCE ACTIVITIES (Unplanned and/or > 3 yrs. betw. events)
| Cost Item | Frequency (months betw. maint. events) |  |  | Hours per Event |  |  | Average Labor Crew Size |  |  | Avg. (Pro-Rated) Labor Rate/Hr. ($) |  |  | Machinery Cost/Hour ($) |  |  | Materials & Inciden-tals Cost/Event ($) |  |  | Total cost per visit ($)
|  | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input | Model | User | Input
2.1 | Corrective Maintenance (membrane patching, re-vegetation, component failure) | 24 |  | 24 | 8 |  | 8 | 4 |  | 4 | 30 |  | 30 | 0 |  | 0 | 3052.5 |  | 3052.5 | 4012.5 |  | 4012.5
2.2 | Soil Replacement | 24 |  | 24 | 8 |  | 8 | 4 |  | 4 | 30 |  | 30 | 0 |  | 0 | 0 |  | 0 | 960 |  | 960
2.3 | add additional activities if necessary | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2.4 | add additional activities if necessary | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Note: For facilities judged to require larger or smaller amounts of maintenance (due to land area, etc.), consider multiplying the Model output in Column U by a multiplier (e.g., 120%) in Column V.
Another quick means of adjustment would be to multiply the number of Hours per Event by a multiplier in the User Input field.
Lookup Table Value
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Lookup ID | HIGH, MEDIUM, AND LOW (MINIMUM) MAINTENANCE COST TABLES
| Cost Item | Frequency (months betw. maint. events) |  |  | Hours per Event |  |  | Average Labor Crew Size |  |  | Avg. (Pro-Rated) Labor Rate/Hr. ($) |  |  | Machinery Cost/Hour ($) |  |  | Materials & Inciden-tals Cost/Event ($) |  |  | Total cost per visit ($)
|  | Low | Med | High | Low | Med | High | Low | Med | High | Low | Med | High | Low | Med | High | Low | Med | High | Low | Med | High
1 | ROUTINE MAINTENANCE ACTIVITIES (Frequent, scheduled)
1.1 | Inspection, Reporting & Information Management | 12 | 6 | 1 | 2 | 4 | 4 | 1 | 1 | 1 | 35 | 65 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 260 | 260
1.2 | Vegetation Management | 12 | 6 | 2 | 5 | 10 | 10 | 2 | 2 | 3 | 20 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 600 | 900
1.3 | Irrigation Repair | 12 | 6 | 2 | 5 | 10 | 10 | 2 | 2 | 3 | 20 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 600 | 900
1.4 | add additional activities if necessary
1.5 | add additional activities if necessary
2 | CORRECTIVE AND INFREQUENT MAINTENANCE ACTIVITIES (Unplanned and/or > 3 yrs. betw. events)
2.1 | Corrective Maintenance (membrane patching, re-vegetation, component failure) | 60 | 24 | 12 | 8 | 8 | 8 | 4 | 4 | 4 | 15 | 30 | 45 | 0 | 0 | 0 | 2035 | 3052.5 | 4070 | 2515 | 4012.5 | 5510
2.2 | Soil Replacement | 60 | 24 | 12 | 8 | 8 | 8 | 4 | 4 | 4 | 15 | 30 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 960 | 1440
2.3 | add additional activities if necessary
2.4 | add additional activities if necessary
Note on O31: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on O32: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on O33: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on P31: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on P32: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on P33: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on Q31: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on Q32: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on Q33: If $0, machinery associated with maintenance is assumed to be minimal and included with hourly labor rate.
Note on R31: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on R32: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on R33: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on R37: Assumes 1% of Standard Roof Installation Cost.
Note on R38: Assumes 5% of engineered soils need to be replaced.
Note on S31: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on S32: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on S33: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on S37: Assumes 1.5% of Standard Roof Installation Cost.
Note on S38: Assumes 5% of engineered soils need to be replaced.
Note on T31: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on T32: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on T33: If $0, materials associated with maintenance is assumed minimal and included with hourly labor rate.
Note on T37: Assumes 2% of Standard Roof Installation Cost.
Note on T38: Assumes 5% of engineered soils need to be replaced.

## 4.Cost Summary
Green Roof | O | User entered 'Operational' in Roof Function on Design Options
Site Name: | M | User entered 'MEDIUM' Maintenance Level in Sheet 1.
Site Location: | A | User entered 'A', Modular Design on Capitol Costs Sheet 2
Date:
Cost Summary
CAPITAL COSTS |  | Total Cost |  |  | Included in WLC Calculation
[5 empty] | Model | User | Chosen Option
Total Facility Base Cost |  |  |  |  | 203500 |  | 203500
Total Landscaping Options Costs |  |  |  |  | 0 |  | 0
Capital Costs |  |  |  | 203500 | 203500 |  | 203500
REGULAR MAINTENANCE ACTIVITIES |  | Years between Events | Cost per Event | Total Cost per Year | Included in WLC Calculation
[5 empty] | Model | User | Chosen Option
Inspection, Reporting & Information Management |  | 0.5 | 260 | 520 | 520 |  | 520
Vegetation Management |  | 0.5 | 600 | 1200 | 1200 |  | 1200
Irrigation Repair |  | 0.5 | 600 | 1200 | 1200 |  | 1200
add additional activities if necessary |  | 0.5 | 600 | 1200 | 1200 |  | 1200
add additional activities if necessary |  | 0 | 0 | 0 | 0 |  | 0
Annual Totals, Regular Maintenance Activities |  |  |  |  | 4120 |  | 4120
CORRECTIVE AND INFREQUENT MAINTENANCE ACTIVITIES (Unplanned and/or >3yrs. between events) |  | Years between Events | Cost per Event | Total Cost per Year | Included in WLC
[5 empty] | Model | User | Chosen Option
Corrective Maintenance (membrane patching, re-vegetation, component failure) |  | 2 | 4012.5 | 2006.25 | 2006.25 |  | 2006.25
Soil Replacement |  | 2 | 960 | 480 | 480 |  | 480
add additional activities if necessary |  | 0 | 0 | 0 | 0 |  | 0
add additional activities if necessary |  | 0 | 0 | 0 | 0 |  | 0
Annual Totals, Corrective & Infrequent Maintenance Activities |  |  |  |  | 2486.25 |  | 2486.25

## 5.Whole Life Costs
Green Roof
M | User entered 'MEDIUM' Maintenance Level in Sheet 1.
O | User entered 'Operational' in Roof Function on Design Options
A | User entered 'A', Modular Design on Capitol Costs Sheet 2
Site Name:
Site Location:
Date:
Whole Life Costs
Year | Discount Factor | Capital & Assoc. Costs | Regular Maint. Costs | Corrective Maint. | Total Costs | Present Value of Costs | Cumulative Costs
[7 empty] | Cash | Present Value | Discount Cost Per Year
Cash Sum ($) |  |  |  |  | 509812.5 | 306317.5694
0 | 1 | 203500 |  |  | 203500 | 203500 | 203500 | 203500 | 306317.5694
1 | 0.94787 | 0 | 4120 | 0 | 4120 | 3905.2133 | 207620 | 207405.2133 | 102817.5694
2 | 0.89845 | 0 | 4120 | 4012.5 | 8132.5 | 7306.6643 | 215752.5 | 214711.8775 | 98912.3561
3 | 0.85161 | 0 | 4120 | 0 | 4120 | 3508.6483 | 219872.5 | 218220.5258 | 91605.6918
4 | 0.80722 | 0 | 4120 | 4012.5 | 8132.5 | 6564.6902 | 228005 | 224785.216 | 88097.0435
5 | 0.76513 | 0 | 4120 | 0 | 4120 | 3152.3535 | 232125 | 227937.5695 | 81532.3534
6 | 0.72525 | 0 | 4120 | 4012.5 | 8132.5 | 5898.0617 | 240257.5 | 233835.6313 | 78379.9998
7 | 0.68744 | 0 | 4120 | 0 | 4120 | 2832.2397 | 244377.5 | 236667.8709 | 72481.9381
8 | 0.6516 | 0 | 4120 | 4012.5 | 8132.5 | 5299.1278 | 252510 | 241966.9987 | 69649.6984
9 | 0.61763 | 0 | 4120 | 0 | 4120 | 2544.6326 | 256630 | 244511.6313 | 64350.5706
10 | 0.58543 | 0 | 4120 | 4012.5 | 8132.5 | 4761.0142 | 264762.5 | 249272.6455 | 61805.9381
11 | 0.55491 | 0 | 4120 | 0 | 4120 | 2286.2313 | 268882.5 | 251558.8768 | 57044.9239
12 | 0.52598 | 0 | 4120 | 4012.5 | 8132.5 | 4277.5447 | 277015 | 255836.4215 | 54758.6926
13 | 0.49856 | 0 | 4120 | 0 | 4120 | 2054.07 | 281135 | 257890.4915 | 50481.1479
14 | 0.47257 | 0 | 4120 | 4012.5 | 8132.5 | 3843.1704 | 289267.5 | 261733.6618 | 48427.0779
15 | 0.44793 | 0 | 4120 | 0 | 4120 | 1845.4842 | 293387.5 | 263579.146 | 44583.9075
16 | 0.42458 | 0 | 4120 | 4012.5 | 8132.5 | 3452.9057 | 301520 | 267032.0517 | 42738.4234
17 | 0.40245 | 0 | 4120 | 0 | 4120 | 1658.0797 | 305640 | 268690.1314 | 39285.5177
18 | 0.38147 | 0 | 4120 | 4012.5 | 8132.5 | 3102.2715 | 313772.5 | 271792.4029 | 37627.438
19 | 0.36158 | 0 | 4120 | 0 | 4120 | 1489.7057 | 317892.5 | 273282.1086 | 34525.1665
20 | 0.34273 | 0 | 4120 | 4012.5 | 8132.5 | 2787.2433 | 326025 | 276069.3519 | 33035.4608
21 | 0.32486 | 0 | 4120 | 0 | 4120 | 1338.4297 | 330145 | 277407.7816 | 30248.2175
22 | 0.30793 | 0 | 4120 | 4012.5 | 8132.5 | 2504.2055 | 338277.5 | 279911.987 | 28909.7878
23 | 0.29187 | 0 | 4120 | 0 | 4120 | 1202.5154 | 342397.5 | 281114.5024 | 26405.5823
24 | 0.27666 | 0 | 4120 | 4012.5 | 8132.5 | 2249.9095 | 350530 | 283364.4119 | 25203.0669
25 | 0.26223 | 0 | 4120 | 0 | 4120 | 1080.4029 | 354650 | 284444.8147 | 22953.1575
26 | 0.24856 | 0 | 4120 | 4012.5 | 8132.5 | 2021.4366 | 362782.5 | 286466.2513 | 21872.7546
27 | 0.2356 | 0 | 4120 | 0 | 4120 | 970.6906 | 366902.5 | 287436.9419 | 19851.318
28 | 0.22332 | 0 | 4120 | 4012.5 | 8132.5 | 1816.1646 | 375035 | 289253.1065 | 18880.6275
29 | 0.21168 | 0 | 4120 | 0 | 4120 | 872.1193 | 379155 | 290125.2257 | 17064.4629
30 | 0.20064 | 0 | 4120 | 4012.5 | 8132.5 | 1631.7375 | 387287.5 | 291756.9632 | 16192.3436
31 | 0.19018 | 0 | 4120 | 0 | 4120 | 783.5577 | 391407.5 | 292540.5209 | 14560.6062
32 | 0.18027 | 0 | 4120 | 4012.5 | 8132.5 | 1466.0385 | 399540 | 294006.5593 | 13777.0485
33 | 0.17087 | 0 | 4120 | 0 | 4120 | 703.9893 | 403660 | 294710.5486 | 12311.01
34 | 0.16196 | 0 | 4120 | 4012.5 | 8132.5 | 1317.1658 | 411792.5 | 296027.7144 | 11607.0207
35 | 0.15352 | 0 | 4120 | 0 | 4120 | 632.5009 | 415912.5 | 296660.2153 | 10289.855
36 | 0.14552 | 0 | 4120 | 4012.5 | 8132.5 | 1183.4108 | 424045 | 297843.6261 | 9657.3541
37 | 0.13793 | 0 | 4120 | 0 | 4120 | 568.2719 | 428165 | 298411.898 | 8473.9433
38 | 0.13074 | 0 | 4120 | 4012.5 | 8132.5 | 1063.2383 | 436297.5 | 299475.1363 | 7905.6714
39 | 0.12392 | 0 | 4120 | 0 | 4120 | 510.5653 | 440417.5 | 299985.7016 | 6842.4331
40 | 0.11746 | 0 | 4120 | 4012.5 | 8132.5 | 955.269 | 448550 | 300940.9706 | 6331.8678
41 | 0.11134 | 0 | 4120 | 0 | 4120 | 458.7186 | 452670 | 301399.6892 | 5376.5988
42 | 0.10554 | 0 | 4120 | 4012.5 | 8132.5 | 858.2637 | 460802.5 | 302257.953 | 4917.8801
43 | 0.10003 | 0 | 4120 | 0 | 4120 | 412.1369 | 464922.5 | 302670.0898 | 4059.6164
44 | 0.094818 | 0 | 4120 | 4012.5 | 8132.5 | 771.1091 | 473055 | 303441.1989 | 3647.4795
45 | 0.089875 | 0 | 4120 | 0 | 4120 | 370.2854 | 477175 | 303811.4843 | 2876.3704
46 | 0.08519 | 0 | 4120 | 4012.5 | 8132.5 | 692.8049 | 485307.5 | 304504.2892 | 2506.0851
47 | 0.080748 | 0 | 4120 | 0 | 4120 | 332.6838 | 489427.5 | 304836.9729 | 1813.2802
48 | 0.076539 | 0 | 4120 | 4012.5 | 8132.5 | 622.4522 | 497560 | 305459.4251 | 1480.5964
49 | 0.072549 | 0 | 4120 | 0 | 4120 | 298.9005 | 501680 | 305758.3257 | 858.1442
50 | 0.068767 | 0 | 4120 | 4012.5 | 8132.5 | 559.2437 | 509812.5 | 306317.5694 | 559.2437

## 6.Present Value Graphs
Green Roof
M | User entered 'MEDIUM' Maintenance Level in Sheet 1.
O | User entered 'Operational' in Roof Function on Design Options
Site Name:
Site Location:
Date:

## 7.Green Roof Design & Cost Info
Green Roofs
Green Roofs are defined in this model as extensive: with shallow soils and low plant cover, with limited roof access. These limits were used to minimize the need for structural reinforcements; however, a structural engineer should inspect all plans before any green roof configuration is installed. Many configurations available for cost estimation in this model will weigh around 35 lb/sf; the most basic configuration may weigh as little as 20 lb/sf and the more elaborate configuration can weigh over 50 lb/sf (weight is not estimated in the model, and these are general estimates). The model generates two cost estimates based on roof area, building height, and roof function: one cost based on a pre-manufactured modular style installation (option "A" on "capital Costs") and a custom installation consisting of a root boundary layer, vegetative cover, and if elected, engineered soils (option "B" on "capital Costs"). The estimate in Option A is based on a cost estimate of a modular green roof system from a manufacturer and installer, the estimate in Option B is based partially on literature review and partially on costs of components based on RS Means. Option C is a template provided for a user-entered engineer's estimate. An extensive literature review suggests that the driving factor in Green Roof installation is selection of landscaping options. This is speculative as any comparison of costs was very difficult because of inconsistencies in cost reporting. This model assumed the most basic type of installation, and allows the user to create a more elaborate installation including botanical upgrades, walkways, and irrigation. All assumptions made by the model can be over-ridden on the "capital Costs" page to allow a large range of configurations. This model is designed to estimate costs for extensive roofs, however, it can be used to estimate costs for intensive roofs by increasing the soil depth and increasing the vegetative costs. This will substantially increase the weight of the roof, and all designs must be approved by an engineer.
Green Roofs Design Considerations Assumed for Default Cost Values
Basic Components:
- Sedum species ground cover
- Physical separation of growth medium/roots from roof membrane:
- Modular systems
- Root barrier fabrics and growth media
- Cost of lifting materials to roof
- Design costs
- Roof size/cost ratio
Landscaping Options:
- Low-growing native decorative plants
- Irrigation systems
- Patios/walkways
Table 1. Pre-fabricated Modular Costs.
Included in Price |  |  |  | Estimated Weight per SF | Cost
Installed cost for a 3-4 story, 10,000 sf roof includes moderate perimeter edging and pavers, less than 5% custom cutting, delivery 100 miles from a nursery, markup, and maintenance contract with plant warranty. Installation cost includes labor for edging, but not the cost of materials. 4.5" standard edging cost is $4.22 per foot. Prices are from Michigan plant, and should be representative of most regions around the country. |  |  |  | 29 lbs | 18
Table 2. Cost Components Used to Estimate Basic Non-Modular Custom Installations for a Flat Roof and Landscaping Options.
Reference | Component | Cost Per Unit | Notes
RS Means | Root barrier | $2.25/SF
RS Means | Sedum mat | $13.25/SF | This is a basic sedum species blend only. No soil required.
RS Means | Engineered growth media | $4.00/CY
RS Means | Cement walking surface | $8.50/SF | Leveling jacks may be necessary, increasing costs as high as $30/SF.
RS Means | Cost increase for lifting materials to taller roofs | 10% if >5 stories
RS Means | Ornamental grasses | $15 ea | Average for botanical upgrade: $10.
RS Means | Annuals | $2 ea | Average for botanical upgrade: $11.
RS Means | Shrubs | $10 ea | Average for botanical upgrade: $12.
Roofmeadow | Upgrade 1 | $5/SY | Average for botanical upgrade: $13.
Peck and Kuhn | Labor cost | $3-$8/SF | $4 were selected for "Operational" installations, $8 for "Promotional" or "Aesthetic" installations.
Peck and Kuhn | Irrigation costs | $2-$4/SF | $2/SF was used, including automation
Peck and Kuhn | Design costs | 5-10% of Total cost | Used 5% of base facility cost for "Operational" function, 10% of base facility cost for "Aesthetic" or "Promotional" functions.
Portland, 2008 | Basic vegetation mat | 2.5 | Includes plant establishment costs
Portland, 2008 | 5" growing Medium | $2.00 / sf | With gravel drainage
Larson | Small project cost adjustment | 10% | Approximate. Larson stated this value is significant but did not state a value. 10% matches modular system manufacture's Estimates as well.
Table 3. Maintenance Cost References.
Reference | Component | Cost Per Unit
Peck and Kuhn | First Year Maint | $1.25-$2.00/SF
Banding | Maintenance | $0.60/SF
Banding | Maintenance | $250/visit, Up to 5 visits per year
Toronto RC | Maintenance | 0.2% of Initial cost
Roofscapes | Maintenance | 2-3 man-hours per 1000 sf per year
Fairfax | Maintenance | $500/year

## 8.Green Roofs References
References Sited:
Banting, D., H. Doshi, J. Li, P. Missios, A. Au, B.A. Currie and M. Verrati. 2005. Report on the Environmental
Benefits and Costs of Green Roof Technology for the City of Toronto. Prepared For City of Toronto
and Ontario Centers of Excellence – Earth and Environmental Technologies (OCE-ETech).
Retrieved in Oct. 2008 from City of Toronto Web site:
http://www.toronto.ca/greenroofs/pdf/executivesummary.pdf.
City of Portland, Environmental Services. 2008. EcoRoof Tours. Retrieved in Sept. 2008 from City of Portland web site:
http://www.portlandonline.com/shared/cfm/image.cfm?id=53988.
Colwell, Catherine. 2008. Five Brough Green Roof, A Manual. NYC Parks and Recreation, New York City, NY.
Fairfax County. 2005. LID BMP Fact Sheet – Green Roofs. Retrieved in September 2008, from EPA LID Center
web page: http://www.lowimpactdevelopment.org/ffxcty/1-5_greenroof_draft.pdf.
LiveRoof, LLC. 2008. Web site retrieved Oct. 2008 from: www.liveroof.com. Personal Communications
in October 2008 with: Amber Evans: amber@liveroof.com.
Peck, S. and M. Kuhn. 2008. Design Guidelines for Green Roofs. City of Chicago. Retrieved
Oct. 2008 from City of Chicago Web Site: http://egov.cityofchicago.org/webportal/COCWebPortal/
COC_ATTACH/design_guidelines_for_green_roofs.pdf.
R. S. Means estimate compiled by Construction Control Corporation, Salt Lake City, UT.
Roofscapes, 2008. Web Site retrieved in Sept. 2008, from: http://www.roofmeadow.com/Inc. Personal
Communication with Nate Johnson, Sept.- Nov. 2008. njohnson@roofmeadow.com.
Toronto and Region Conservation. 2008. An Economic Analysis of Green Roofs: Evaluating the costs and savings to
building owners in Toronto and surrounding regions. Retrieved Sept. 2008 from Sustainable Technologies
web site: http://www.sustainabletechnologies.ca/Portals/_Rainbow/Documents/GR_Econ.pdf.
Portland, 2008. Cost Benefit Evaluations of Ecoroofs. Prepared by David Evans and Associates for City of
Portland Bureau of Environmental Services Watershed Services.
Resources not sited but visited for conceptual understanding:
Center for Neighborhood Technology. 2008. Green Values Stormwater Calculator. Retrieved in Oct. 2008 from CNT web page:
http://greenvalues.cnt.org/calculator.
EPA Low Impact Development Center. Retrieved Sept. 2008 from LID center web page: http://www.epa.gov/nps/lid/
Green Roofs for Healthy Cities. 2008. Green Save Calculator. Retrieved from GRHC web page in Sept. 2008 from:
http://www.greenroofs.org/index.php?option=com_content&task=view&id=626&Itemid=116.
EPA. 2008. LID Urban Design Tools. Retrieved Oct. 2008 from EPA LID center web site:
http://www.lid-stormwater.net/greenroofs_commercial.htm.
Summary of References:
Banting et al. (2005) | A full technical report including stormwater and greenhouse gas emissions benefits, costs, and design parameters. Research explaining the benefits of a green roof are well summarized and referenced in this report. Costs are estimated at $7.00 - $9.50 per sf in 1995 $CA above the cost of a standard roof, however, no details about what this cost estimate does or does not include are provided, or how the cost estimate was calculated.
City of Portland (2008) | This brochure describes many technical aspects of green roofs by displaying green roofs that have been installed throughout Portland. Some of the roofs described are demonstration projects, some are research projects of green roof installers, and others are more basic and operational green roof installments. Cost, weight per sf, roof size, plant varieties and installer's objectives are provided for most roofs along with photographs.
Colwell (2008) | New York City Dept. of Parks and Recreation installed eleven types of green roofs in small segments on their Randall's Island building for cost and design analysis. The roof types installed included modular, extensive non-modular, intensive non-modular, container, bag, and planter box systems. For systems that can be represented by this model, reported costs include $5.47 per sf for a 7" deep layered design, $9.09 for a 6" deep tray, $20.39 per sf for a 4" deep interlocking modular system, and $24.14 per sf for an 18" deep layered system. All cost are 2008 $US for the New York City area.
Fairfax County (2005) | This fact summary sheet provides a cost of $250,000 for a 22,000 sf green roof with $500 annual maintenance costs and $7,500 maintenance costs on every 5th year for repairs and landscaping work. Maintenance activates, costs and benefits, and design parameters are summarized.
LiveRoof (2008) | LiveRoof representative Amber Evans provided cost components and estimations for the modular system her company installs. These estimates are reported in the "Modular Installation Option A" of the capital Costs worksheet.
Peck and Kuhn (2008) | This article gives summaries of benefits to green roofs, and most importantly, gives suggestions on cost break-downs per component of green roofs. Costs given include: design (5% - 10% of total cost), project administration (2.5% - 5% of total costs), re-roofing with root-repelling membrane ($10 - $15 per sf), green roof system ($5 - $10 per sf), plants ($1 - $3 per sf, installation and labor ($3 - $8 per sf), maintenance ($1 - $2 per sf for the first two years), and irrigation systems ($2 - $4 per sf). This is the most detailed cost estimate broken into components that was found. No year or location is given to describe costs.
Roofscapes (2008) | RoofScape representative Nathan Johnson provided general maintenance information associated with green roofs, and explained various causation for the high variability in component and installation costs.
Toronto (2008) | Detailed stormwater, energy, esthetics, and air quality benefits are described, along with a survey of 24 green roofs in the City of Toronto. All costs are reported in $CA 2005. Costs for 18 of the 24 buildings are reported with a cost range from $6 - $18 per sf. Some cost details are provided for some buildings. Not all costs reported include identical cost components. Maintenance activities are also summarized.