## User's Guide - Table 1
This workbook is to be used in conjunction with the Sustainable Design and Green Building Toolkit for Local Governments Toolkit developed by the U.S. EPA
Purpose: Use the Assessment Tool in order to identify and remove barriers to sustainable design and green building. After completing the assessment, refer to the resource guide for ways to improve sustainable building and develop an Action Plan.
The assessment tool is comprised of five categories to be evaluated by answering questions evaluating a community's existing regulations, which directly effects green building and sustainable design.
• Sustainable Sites and Responsible Land Use Development • Materials and Resource Conservation • Energy Conservation and Atmospheric Quality • Water Efficiency, Conservation, and Management • Indoor Environmental Air Quality
Each category is then further divided into subcategories for more detailed analysis. For each subcategory there are several overarching questions to focus on that each have related Potential Tools and Techniques and Specific Questions. Use the Potential Tools and Techniques as a guide of which codes and ordinances to use in evaluating the related question.
Instructions: (for each subcategory, i.e. "A.1. SITE DEVELOPMENT AND PRESERVATION OF NATURAL AREAS" under "A-Sustainable Sites" worksheet)
1. Read the Objective and Rationale
2. Read the first Overarching Question
3. Read the first pair of Potential Tools and Techniques and Specific Questions
4. Evaluate your legislation/regulations/ordinances in regards to the question
5. Choose the option from the drop-down menu that best fits your response to the question (if inapplicable, leave choice as "Please Choose One")
* As default, each cell says, “Please Choose One”, to change the rating, click on the cell and choose the appopriate response.
* The possible responses are on a scale ranging from "Expressly Prohibited" to "Required by Code"
* Each response gives a color-rating in the final column as green, yellow, or red (if question is skipped, then this cell will read "No Rating")
Green- community is doing well and should continue with current action
Yellow- room for improvement
Red- community should identify and remove cause of barrier
*Repeat until all questions are answered
Complete these steps for each subcategory of each category, A-E
The totals for each color are tallied and recorded after each subcategory's table, as well as the overall category's totals at the end of the worksheet.
A pie chart providing a graphical representation of the results is given for each category.
The last sheet entitled "All Sections Report" gives a comprehensive view of all of the results, broken down by category, along with a pie chart
Please note: none of the cells are locked, so it is possible to copy and paste over the options. Please be careful if you are adding or editing text, so that you don’t mistakenly override some of the formulas that provide the drop down menus or the formulas that generate the pie charts or the automatic summaries of the color-ratings.
Please note: This tool can be expanded or modified to fit the needs of your community. Therefore, if you need to add sections or areas that are not currently addressed by the assessment tool-- e.g., building in coastal areas, ordinances for community gardens etc., these sections can be added as needed and you may copy and paste the drop down menus and formulas to generate the automatic pie charts and summary tables.

## A - Sustainable Sites
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.1. SITE DEVELOPMENT AND PRESERVATION OF NATURAL AREAS
Objective: To conserve or restore natural areas to reduce the impact of development on natural systems, including minimizing the built-upon area footprint.
Rationale: Natural areas protect water and air quality, provide wildlife habitat and recreational areas, protect human health, and connect people to nature.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for preservation or protection of critical natural resources such as: streams, wetlands, floodplains, critical wildlife habitat, steep slopes, and drinking water sources? | Buffer ordinances. Buffer design requirements (width, vegetation, maintenance). Stormwater credits. | Do the codes/ordinances provide for a river and stream buffer to protect water quality and habitat in streams and rivers? | Required by code | Green | Boise River System Ordinance
| Buffer ordinances. Buffer design requirements (width, vegetation, maintenance). Stormwater credits. | Do the codes/ordinances for the river and stream buffer include lakes, wetlands and coastal waters to protect water quality and habitats in these waters? | Required by code | Green | Boise River System Ordinance
| Buffer ordinances. Buffer design requirements. | Are there replacement or restoration requirements for buffer disturbances when it is absolutely necessary to disturb the vegetated buffer? | Required by code | Green | Boise River System Ordinance
| Source water protection ordinances. Setback requirements. Zoning approaches. Protection practices (e.g., double wall underground storage tanks). | Are there drinking water sources protection requirements to ensure the source of drinking water will not be adversely impacted by the project? | Code silent, but typically allowed | Yellow
| Floodplain protection ordinance. Floodplain protection mitigation and restoration. Floodplain zoning incentives. | Are there floodplain protection requirements to protect and/or restore the floodplain? | Required by code | Green | Floodplain Development Ordinance
| Steep slope or mountain ridge protection ordinances. Steep slope or mountain ridge protection incentives. Stormwater credits. | Are there steep slope or mountain ridge protection requirements to protect slopes from uses that may endanger the community? | Required by code | Green | Foothills Planned Develoment Ordinance
Provide for open space preservation such as natural land preservation, green space creation, or conservation developments and cluster designs for new and re-development? | Open space ordinances. Maximum grading allowance. Flexible setbacks. Imperviousness limits. Impact fee reductions. Building height variance. Zoning approaches such as transfer development rights. | Is there a standard for natural resource preservation or green space creation to provide connected natural environments and provide passive recreation opportunity? | Incentivized | Green | Foothills Planned Develoment Ordinance
| Conservation development criteria or ordinances. Cluster development criteria or ordinances. Zoning approaches. Incentives such as: variance in building height restriction, shared driveways, expedited permit review, reduced fees, etc. | Are conservation developments and/or cluster designs allowed in order to protect and connect natural environments? | Required by code | Green | Foothills Planned Develoment Ordinance
Protect existing trees, such as dense tree canopies, specimen trees, and important community trees? | Tree ordinances. Tree removal permits. Street tree designs. Tree credits. Replacement ratios. Stormwater or landscape credits. | Are there requirements for tree preservation to provide urban habitat for wildlife, provide cooling effect for pavement and rooftops, reduce stormwater runoff, and provide for cleaner air? | Required by code | Green | Design Review Ordinance
Allow modified street and/or driveway design to minimize natural resource destruction? | Green street ordinances. Context sensitive street designs. Utilities consolidated on one side of street. Stormwater or landscape credits. | Is there flexibility in street and driveway design for reduced street or driveway widths, reduced sidewalks (one side only) on residential or other low-use streets to reduce the amount of impervious pavement? | Code silent, but typically allowed | Yellow
| Permeable pavement information. Stormwater credits. | Is there flexibility in design material such that permeable pavements or pavers are accepted on residential or other low use streets or driveways to provide for stormwater infiltration? | Expressly Allowed | Yellow | Design Review Ordinance
| Modified curb and gutter designs. Stormwater or landscape credits. | Are modified curb or gutters systems such as swale only, reverse curbs, or curb cuts with rain gardens, etc. allowed to provide for stormwater infiltration and evaporation? | Code silent, but typically allowed | Yellow
| Modified cul-de-sac designs. Permeable pavement information. Stormwater credits. | Are modified cul-de-sac designs allowed to provide for reduced impervious pavement? | Code silent, but typically allowed | Yellow
Allow modified parking requirements to minimize natural resource destruction? | Green parking ordinances. Green parking designs. Maximum parking limit. Parking study examples. Stormwater credits. Parking fee structure to encourage public transportation. | Are requirements in place that allow for reduced parking requirements, credit for shared parking or street parking, or under-structure parking to result in reduced impervious pavement? | Expressly Allowed | Yellow
Score | Counts
Green | 8
Yellow | 6
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.2. PROMOTE INFILL AND REDEVELOPMENT
Objective: To reduce development on natural lands by providing options for redevelopment and infill in areas with existing infrastructure.
Rationale: Communities can realize a significant reduction in regional stormwater runoff if they take advantage of underused properties such as abandoned or underutilized shopping centers. Redevelopment in these areas takes advantage of existing roads and utility infrastructure which can mean that the local government will not have to spend as much to maintain new infrastructure in the future. This leaves large areas of open space undeveloped.
Overarching Question: | Potential Tools and Techniques | Specific Questions | Assessment of | Rating
Do the codes/ordinances: |  |  | Specific Question
Differentiate requirements for infill and redevelopment versus new development to minimize natural resource destruction and provide energy economies? | Density bonus incentives. Streamline permitting. Special tax zones or increment finance districts. Mixed use development ordinances and criteria. | Are there requirements in place to encourage infill or redevelopment in areas with existing infrastructure (i.e., provide expedited permit review, reduced fees, cost sharing) to reduce the need for new road and water infrastructure? | Expressly Allowed | Yellow
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Differentiate requirements for infill and redevelopment versus new development to minimize natural resource destruction and provide energy economies? | Density bonus incentives. Streamline permitting. Special tax zones or increment finance districts. Mixed use development ordinances and criteria. | Are there requirements in place to encourage infill or redevelopment in areas with existing infrastructure (i.e., provide expedited permit review, reduced fees, cost sharing) to reduce the need for new road and water infrastructure? | Expressly Allowed | Yellow | Infill Density Bonus was temporarly deleted from code due to the fact that most all development is now infill. The city also has TIF Urban Renewal Areas and expedited processing for mixed use and green projects in priority areas.
Establish urban growth boundaries to discourage development in farmlands and forests? | Urban growth boundary ordinances. Purchase of Development Rights Program. Agricultural Conservation Easement. | Are there established urban growth boundaries such as large lot or agricultural only zoning outside urban boundaries to keep the urban area compact and allow the rural areas to have fewer impervious surfaces? | Required by code | Green
Score | Counts
Green | 1
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.3. CONSTRUCTION PHASE POLLUTANT CONTROL
Objective: To reduce construction phase pollution by controlling soil erosion, sedimentation, and airborne dust during site development.
Rationale: Water quality can be degraded by excessive erosion from stormwater runoff and airborne dust at construction sites when the land cover (vegetation) is removed and bare soil is exposed to rain and wind. Additionally, materials used at construction sites such as petroleum, herbicides, solvents, and concrete washout can enter the waterways during rain events unless properly controlled.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for erosion and sediment controls (E&SC) during the construction phase? | E&SC ordinance meeting EPA’s numeric effluent limitation guidelines. E&SC best management practices (BMPs) based on EPA’s numeric effluent limitation guidelines. E&SC best management manuals based on EPA’s numeric effluent limitation guidelines. Third party inspection requirements. | Are there E&SC requirements for land disturbing activities to reduce the excessive erosion and sedimentation from land disturbing activities? | Required by code | Green | ESC Ordinance
| E&SC incentives. Surety or bonding requirements. | Are there incentives for developers that are high performers in E&SC, such as streamlined permitting, fewer inspections, etc. to encourage highly successful E&SC site management? | Code silent, but typically allowed | Yellow
| Clearing and grading ordinance. Construction phasing requirements that immediately cover exposed soil on the construction site. | Are there clearing and grading requirements that limit the amount of exposed soil on the construction site to reduce the potential for erosion and sedimentation? | Required by code | Green | Minimization of soil exposure and scheduling. Permit conditions require stabilization on inactive portions of the site within 14-days.
Provide for control of other pollutants at the construction site such as petroleum, herbicides, solvents, and concrete washout to prevent migration of the associated pollutants into waterways? | Good housekeeping requirements. Petroleum containment and disposal specifications. Concrete washout containment and disposal specifications. Solvent handling and disposal specifications. Herbicides/pesticide/fungicide handling/disposal specifications. Construction debris containment and disposal specifications. | To prevent migration of pollutants to waterways, are there requirements for: · Petroleum containment on the construction site? · Concrete washout containment on the construction site? · Solvents handling? · Herbicides, pesticides, fungicides handling? · Construction debris handling? | Required by code | Green | ESC Ordinance
Provide for control of dust to protect air quality? | Dust management specifications. | Are there requirements for dust management on the construction site to prevent offsite migration of dust and other pollutants? | Code silent, but typically allowed | Yellow | Enforcement through IDEQ with support by City.
Provide for lower emission construction equipment to protect air quality? | Clean diesel specifications in municipal projects. Clean construction initiatives. | Are there requirements for the construction equipment to be fitted with clean diesel equipment or alternative fuels to reduce greenhouse gas emissions? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 3
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.4. POST-CONSTRUCTION STORMWATER MANAGEMENT
Objective: To maintain the predevelopment hydrology of the development site with regard to the temperature, rate, volume, and duration of flow.
Rationale: In the natural environment, rain falls and is quickly absorbed by trees, other vegetation, and the ground. Runoff occurs only during large rainfall events. Traditional development practices cover large areas of the ground with impervious surfaces such as roads, driveways, sidewalks, and buildings, reducing the interception and infiltration of rainfall and causing excessive stormwater runoff rates and volumes that result in stream scour, habitat degradation, and local flooding.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for the maintenance of predevelopment hydrology for new and redevelopment projects? | Post-construction stormwater management ordinances. Post-construction best management practice specifications (e.g., green roofs, rain gardens, wet ponds). Redevelopment incentives. Retrofitting incentives. | Is there a post-construction control code/ordinance or requirements in the codes/ordinances? | Required by code | Green
| Stormwater design manuals. Energy Independence and Security Act (EISA) Section 438 Guidance. Redevelopment incentives. Retrofitting incentives. | Do the codes/ordinances provide for maintaining pre-development hydrology? | Required by code | Green
| Stormwater design manuals. Post-construction best management practice specifications (e.g., green roofs, rain gardens, wet ponds). | Is there a stormwater design manual or are there design specifications in the codes/ordinances? | Required by code | Green
| Redevelopment incentives. Retrofitting incentives. Post-construction stormwater credits. | Are there incentives for redevelopment projects in the codes/ordinances? | Expressly Allowed | Yellow
Provide for green streets and alleys options? | Permeable pavement specifications. Green street design incentives. | Are there options for green streets or alleys in the codes/ordinances which allow for reduced width streets, permeable pavements, substitution of curb and gutter with swales, reverse curbs, curb cuts, rain gardens, etc.? Are there incentives for redevelopment to reduce the need for new streets? | Code silent, but typically allowed | Yellow
Provide for green parking options? | Permeable pavement specifications. Green parking design incentives. | Are there options for green parking lots including permeable pavements, rain gardens, substitution of curb and gutter systems as above? Are there maximum parking requirements versus minimum parking requirements to discourage overbuilding parking? Is shared parking an option? | Code silent, but typically allowed | Yellow | The zoning code contains parking maximums as well as parking minimums.
Score | Counts
Green | 3
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.5. HEAT ISLAND EFFECT
Objective: To reduce heat islands created by large areas of pavement and/or rooftops for protection of human health and the environment.
Rationale: Rooftops, roads, parking lots and other paved surfaces absorb and retain heat, leading to an increase in air temperatures in the immediate area. Higher air temperatures contribute to higher energy costs for air conditioning, compromise human health, and increase air pollution.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for reducing the creation of heat islands in new and re-development projects? | Green roof specifications. Green parking specifications. Green street specifications. Incentives for reducing heat islands. Low reflectance roof coverings. Permeable pavement specifications. | Are there requirements to minimize the heat generated from rooftops, parking areas, streets, and driveways? | Code silent, but typically allowed | Yellow
| Redevelopment incentives.Tree specifications, such as native species lists, placement guides, maintenance requirements, canopy requirements, etc. | Are there incentives for maintaining or restoring tree canopies? | Required by code | Green | Design Review Ordinance
Score | Counts
Green | 1
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
A.6. LIGHT POLLUTION REDUCTION
Objective: To improve night skies visibilities, minimize light trespass, and reduce night light impacts on flora and fauna.
Rationale: Light pollution is misdirected or misused light that wastes energy by allowing light to escape into the night sky. Light pollution can also reduce visibility and therefore safety and security at night. It can also harm nocturnal wildlife and ecosystems (e.g., sea turtles moving towards outdoor lights rather than the moonlit ocean). Outside lighting should be directed only to the space that needs to be lit for public safety.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for reducing light pollution impacts such as reducing sky-glow and light trespass? | Dark or night skies ordinances. Outdoor lighting codes/ordinances. Light levels or SmartCodes. Simple guidelines for lighting regulations. Green parking specifications. Green street specifications. Incentives for reducing heat islands. Low reflectance roof coverings. Permeable pavement specifications. | Do the codes/ordinances require reduction in sky-glow and light trespass, including design criteria such as illumination cone maximums, automatic timing devices, low reflectance surface requirements, spotlight limitations? | Code silent, but typically allowed | Yellow
| Outdoor lighting codes/ordinances. Light levels or SmartCodes. Simple guidelines for lighting regulations. | Do the codes/ordinances have maximum rather than minimum outdoor lighting requirements to reduce the impacts on night skies, light trespass, and wildlife? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 0
Yellow | 2
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
A. SUSTAINABLE SITES AND RESPONSIBLE LAND USE DEVELOPMENT
TOTALS
Green | 16
Yellow | 16
Red | 0
No Rating | 0

## B- Materials and Resources
SUSTAINABLE DESIGN AND GREEN BUILDING
B. MATERIALS AND RESOURCE CONSERVATION
B.1. CONSTRUCTION, RENOVATION, AND DEMOLITION MATERIALS MANAGEMENT
Objective: To prevent C&D materials from being disposed in waste facilities; to redirect recyclable and/or reusable materials to appropriate uses.
Rationale: C&D waste management reduces building costs, saves resources, conserves energy, and protects the environment.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Reduce the amount of C&D materials, including renovation materials, being disposed in landfills? Promote the reuse and recycling of C&D and renovation materials? | C&D ordinances requiring minimum recycling by percent or weight. Waste management plan requirement. Deconstruction requirements in demolition permit or separate deconstruction permits. Building permits include C&D materials diversion deposit or bond. Building material bans at city or county waste disposal facilities. Renovation ordinance requiring minimum recycling when the projects exceed a certain value or size. | Is there a requirement specifying a diversion (from landfilling) rate for C&D or renovation materials? | Code silent, but typically allowed | Yellow
| Waste management plan requirement. | Is there a requirement for a waste management plan to be prepared? | Code silent, but typically allowed | Yellow
| Policy for on-site grinding and reuse of materials (e.g., concrete, drywall, clean wood, other). Number of C&D boxes allowed on a site. Allowances for stockpiling C&D materials on the site. Requirement for contractor personnel training or certification in C&D management. Waste management plans. | Do the requirements for the construction site allow for the reuse and recycling of C&D materials, e.g., concrete, drywall, clean wood (ground as mulch), other? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 0
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
B. MATERIALS AND RESOURCE CONSERVATION
B.2. BUILDING REUSE
Objective: To reuse existing building structures and shells to conserve resources, reduce waste and reduce environmental impacts of new construction.
Rationale: Repairing a building rather than tearing it down saves natural resources and energy and prevents pollution that might take place as a byproduct of extraction, manufacturing, and transportation of virgin materials. Building reuse also avoids creating solid waste that could end up in landfills.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Allow adaptive reuse of existing buildings? | Rehab or reuse ordinance for older buildings. Pedestrian oriented developments or transit orientated development districts. Mixed use or density allowances. Adaptive reuse ordinance. Voluntary clean-up programs. Tax increment finance districts. | Is the redevelopment and reuse of existing buildings encouraged? | Expressly Allowed | Yellow
| Historic preservation ordinance. Adaptive reuse, or sustainable design, of historic buildings policy. | Are there allowances for green renovations or technologies that retain the historic character of registered historic properties or resources? | Required by code | Green | HPC Ordinance
Score | Counts
Green | 1
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
B. MATERIALS AND RESOURCE CONSERVATION
B.3. MATERIAL REUSE
Objective: To reuse materials and products to reduce demand for virgin materials and reduce waste, thereby lessening impacts associated with the extraction and processing of virgin resources.
Rationale: Reusing building materials creates many economic, environmental, and social benefits, including reducing construction costs, reducing the consumption of new resources, and minimizing landfill waste and pollution.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Promote the utilization of reused building materials? | Historic preservation ordinance. Adaptive reuse, or sustainable design, of historic buildings policy. | Does the historic preservation ordinance allow for reused or recycled-content building materials during renovation projects? | Code silent, but typically allowed | Yellow
| Green building program or ordinance with minimum reuse requirements for new construction. | Are there provisions in place that encourage materials reuse? | Required by code | Green | Design Guidelines for Residential Historic Districts
Provide for the reuse of materials during all phases of the building's life? | Requirement that buildings be designed or constructed to accommodate recycling by building occupants. Requirement to provide for the storage of discarded lamps, batteries, and other items which may require special disposal practices in the jurisdiction. | Does the building or site design include a specific area(s) to allow for collection and/or sorting of recyclable materials and materials that require special handling for disposal (i.e., should not be disposed of in the municipal solid waste stream)? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 1
Yellow | 2
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
B. MATERIALS AND RESOURCE CONSERVATION
B.4. MATERIAL SELECTION
Objective: To consider the impacts of a product throughout its lifecycle to select materials with the lowest environmental impacts.
Rationale: Selecting environmentally preferable building materials can reduce construction costs and environmental impacts that result from the extraction, processing, and transportation of virgin materials. These materials can also reduce the depletion of finite raw materials and encourage environmentally responsible resource management.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Promote the use of environmentally responsible materials? | Green building program or ordinance with minimum post consumer recycled content requirements. Requiring use of the Comprehensive Procurement Guidelines (CPG) and Electronic Product Environmental Assessment Tool (EPEAT) for local government acquisitions. Certified wood products requirements. | Is there a local government building procurement policy that promotes the use of environmentally responsible materials that: • are based on a renewable source • contain recycled content • are energy efficient (in manufacture and/or in usage) • durable • readily recyclable and/or reusable upon decommissioning • water conserving, mold/mildew resistant • emit minimal emissions (in manufacturing process and/or in usage) • are of low toxicity • require/allow healthful maintenance (doesn’t require harmful sealants/coatings) • are affordable • locally sourced, within 500 miles, when possible. | Code silent, but typically allowed | Yellow
Score | Counts
Green | 0
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
B. MATERIALS AND RESOURCE CONSERVATION
TOTALS
Green | 2
Yellow | 7
Red | 0
No Rating | 0

## C- Energy and Atmosphere
SUSTAINABLE DESIGN AND GREEN BUILDING
C. ENERGY CONSERVATION AND ATMOSPHERIC QUALITY
C.1. OPTIMIZED ENERGY PERFORMANCE
Objective: To improve the building’s energy performance by optimizing the energy use within the building.
Rationale: Optimizing a building’s energy performance will reduce economic impacts associated with high intensity energy use and excessive energy use and reduce environmental impacts such as greenhouse gas emissions.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Promote improved, climate-based, energy performance standards? | ENERGY STAR Qualified Homes Program Requirements. Ordinance requiring meeting or exceeding the most recent residential model energy code/ordinance, such as the International Energy Conservation Code (IECC). | Do ordinances allow for residential building energy-related systems to be installed, calibrated, and perform according to the most up-to-date model code or standard, or better? | Required by code | Green | City has adopted the 2009 IECC
| Ordinance requiring meeting or exceeding the most recent model energy code, such as ASHRAE’s Energy Standard for Buildings Except Low-Rise Residential Buildings, Standard 90.1 or the IECC. ENERGY STAR Commercial Building Requirements. Enhanced energy provisions of the International green Construction Code (IgCC) or ASHRAE 189.1. | Do ordinances allow for commercial building energy-related systems to be installed, calibrated, and perform according to the most up-to-date model code or standard or better? Additional things to consider: • Are performance-based compliance options allowed to be less efficient than prescriptive options? • Are there incentives to build smaller or use less energy per square foot of building area? • Are there incentives to construct buildings which are more energy efficient than the minimum requirements of the jurisdiction? | Required by code | Green | City has adopted the 2009 IECC
Ensure that the energy performance requirements are being met post-construction or renovation? | ENERGY STAR Qualified Homes Program Checklist. ENERGY STAR Energy Design Guidance Checklist. Require third-party building inspection of equipment, insulation, ductwork, etc. prior to completion of the building. Require diagnostic testing to assure proper installation and verification by a certified Home Energy Rating System (HERS) rater. Require verification of energy performance for commercial use during change of occupant or tenant, and during re-sale, through specified audits and other material. ENERGY STAR Target Finder in Commercial Buildings. | Are checklists, certification, field testing and/or verification required to ensure that energy performance standards are met? Additional things to consider: • Is third party energy code enforcement allowed? • Is third party energy code enforcement performed? | Required by code | Green
Facilitate energy consumption measurements in order to provide building managers with the tools to identify and explain increases or decreases in energy use, draw energy consumption trends, determine future energy use when planning changes in the business, diagnose specific areas of wasted energy, develop performance targets for energy management programs, and manage their energy consumption? | Ordinances requiring measurement devices with remote communication ability, providing daily energy profiles. Ordinances providing for submetering of large or significant loads in commercial buildings. Ordinances providing for submetering of individual apartments in multi-family buildings and submetering of individual tenants in commercial buildings. | Do codes/ordinances exist which provide for ongoing accountability of building energy consumption over time (exception: buildings or portions of buildings used as residential)? | Code silent, but typically allowed | Yellow
Provide energy specifications for specific water features in commercial and residential buildings? | Heating element specifications. Circulating pump motors and filtration pump motors specifications. Cooling tower specifications. | Are there provisions in place which address energy features of public and private swimming pools, fountains, and spas? | Required by code | Green
Eliminate unnecessary light pollution and conserve energy? | Dark skies or night skies ordinances. Adoption of the newest energy codes. | Are specific requirements in place (e.g., maximum allowed lumens per square foot for each lighting zone) for outdoor lighting as it pertains to: building and structures; recreational areas; parking lot lighting; landscape lighting; billboards and other signage; street lighting? | Required by code | Green
Score | Counts
Green | 5
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
C. ENERGY CONSERVATION AND ATMOSPHERIC QUALITY
C.2. ON-SITE RENEWABLE ENERGY
Objective: To encourage the use of on-site renewable energy to reduce the economic and environmental impacts associated with fossil fuel use.
Rationale: On-site renewable energy generation can produce significant economic, energy, and environmental benefits. On-site renewable energy reduces energy costs by decreasing a building’s susceptibility to fossil fuel price volatility. On-site renewable energy also reduces greenhouse gas and other air emissions.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for the use of on-site renewable energy? | Provisions for solar, wind, geothermal, low-impact hydro, biomass, or bio-gas strategies. | Are renewable energy technologies allowable under existing local ordinances? Examples include: trees ordinances that limit solar, burn ordinances that limit biomass projects, structural height limitations that impact solar, prohibitions on the use of groundwater in geothermal projects, structural restrictions for small scale wind generation and large scale wind generation, etc. | Code silent, but typically allowed | Yellow
| Historic preservation ordinance. Sustainable design of historic buildings policy. | Are there allowances for using renewable energy technologies at registered historic properties or resources? | Expressly Allowed | Yellow | Design Guidelines for Residential Historic Districts
| Net-metering policy or ordinance. | If net-metering is allowed in the state, is it encouraged by the local community? | Code silent, but typically allowed | Yellow | Public Works arguing w/Idaho Power who is hiking rates for those putting energy back into grid.
Score | Counts
Green | 0
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
C. ENERGY CONSERVATION AND ATMOSPHERIC QUALITY
C.3. PROTECT ATMOSPHERIC QUALITY
Objective: To reduce the use of ozone-depleting chemicals and minimize the generation of greenhouse gases, particulate matter, and other air toxics.
Rationale: Enhanced refrigerant management will minimize the emissions of compounds that contribute to ozone depletion. Using clean construction practices reduces energy costs and consumption and also minimizes the generation of air toxics.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Protect atmospheric quality by reducing the use of ozone-depleting refrigerants, and the generation of other air pollutants and greenhouse gases? | Restrictions on Chlorofluorocarbon (CFC) -based refrigerants. Restrictions on ozone-depleting substances in fire suppression systems. | Are restrictions on ozone-depleting substances in place for Heating Air-Conditioning Ventilation and Refrigeration (HVAC-R) systems? | Code silent, but typically allowed | Yellow
| Verified diesel retrofit technologies. Local government construction contract specification requirements, e.g., vehicle emissions, dust control, idle reduction policies. | Are clean construction practices encouraged? | Code silent, but typically allowed | Yellow
| ENERGY STAR appliances. Heating element specifications. | Are high efficiency appliances encouraged or required? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 0
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
C. ENERGY CONSERVATION AND ATMOSPHERIC QUALITY
TOTALS
Green | 5
Yellow | 7
Red | 0
No Rating | 0

## D-Water
SUSTAINABLE DESIGN AND GREEN BUILDING
D. WATER EFFICIENCY, CONSERVATION, AND MANAGEMENT
D.1 WATER USE REDUCTION AND INNOVATIVE PLUMBING SYSTEMS
Objective: To increase water efficiency and conserve water within buildings by using innovative plumbing systems.
Rationale: Increasing water efficiency and conserving water reduces water bills and leaves more water in rivers, lakes, and other freshwater sources. Water conservation also reduces the burden on municipal water supply and wastewater systems; saves energy from reduced amounts of water pumped, treated, and distributed; and reduces wastewater treatment collection.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Allow for water use reduction through innovative plumbing systems and individual metering? | Requirement for WaterSense homes. Incentives, such as rebate programs or property tax forgiveness. Upgrade plumbing code for high efficiency fixtures. Composting toilet information. | Is the use of high efficient and innovative plumbing fixtures and fittings, such as WaterSense labeled, encouraged to reduce water consumption? | Code silent, but typically allowed | Yellow
| Revise code for multi-family buildings. Water metering information. | Are there provisions in place that encourage individual metering in multifamily units to reduce water consumption? | Code silent, but typically allowed | Yellow
| Air conditioning condensate water reuse. Upgrade plumbing code. | Is the reuse of air conditioning condensate water encouraged to reduce unnecessary use of potable water? | Code silent, but typically allowed | Yellow
| Rainwater harvesting model ordinances. Rainwater harvesting plan requirements. | Is the use of rainwater harvesting systems allowed within the community for outdoor irrigation to reduce unnecessary use of potable water? Is the water from rainwater systems allowed for indoor use such as toilet flushing to reduce unnecessary use of potable water? | Code silent, but typically allowed | Yellow
| Gray water model ordinances. | Is the use of gray water systems encouraged for outdoor irrigation to reduce unnecessary use of potable water? Is the water from gray systems allowed for indoor use such as toilet flushing to reduce unnecessary use of potable water? | Expressly Allowed | Yellow | DEQ has issues with gray water reuse and sometimes imposes regulations that make its use cost prohibitive.
Score | Counts
Green | 0
Yellow | 5
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
D. WATER EFFICIENCY, CONSERVATION, AND MANAGEMENT
D.2 INNOVATIVE WASTEWATER TREATMENT
Objective: To reduce wastewater generation and potable water demand while increasing the local aquifer recharge.
Rationale: Treating wastewater more effectively and efficiently reduces the amount of wastewater generated. Also, reducing the water sent to on-site wastewater treatment systems may improve the overall process performance by reducing the hydraulic loading and, in some cases, providing a more stable wastewater flow.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Promote the infiltration of wastewater onsite? | Constructed wetlands information. Innovative wastewater reuse. | Are natural systems, like constructed wetlands or other innovative infiltration systems, encouraged as a means to infiltrate treated wastewater onsite? | Expressly Allowed | Yellow
| Packaged biological nutrient removal systems. High efficiency filtration systems. Non-traditional septic tanks. | Are publicly owned decentralized and/or innovative on-site wastewater treatment systems encouraged to capture or reuse reclaimed wastewater? | Code silent, but typically not approved | Yellow
Score | Counts
Green | 0
Yellow | 2
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
D. WATER EFFICIENCY, CONSERVATION, AND MANAGEMENT
D.3 WATER-EFFICIENT LANDSCAPING AND LANDSCAPE IRRIGATION
Objective: To reduce or eliminate the use of potable water or natural water resources for landscape maintenance.
Rationale: Water-efficient landscaping offers many economic and environmental benefits that can include lower water bills, decreased energy use, reduced irrigation water use, reduced landscaping and labor maintenance, and conservation of natural resources and preservation of habitat. When irrigation is needed, water-efficient irrigation offers many environmental and economic benefits over traditional irrigation.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Limit the use of water resources for a building’s landscape maintenance? | Grouping plants according to their water needs, or using native and low-water-use or drought resistant plants. | Is there a requirement for using plants that will reduce the use of water for landscape maintenance? | Code silent, but typically allowed | Yellow
| Limiting turf areas to those needed for practical uses. | Are there limitations to the amount of turf area around a building’s perimeter? | Code silent, but typically allowed | Yellow
Limit the use of potable water resources to irrigate a building’s landscape? | Rainwater ordinances. Grey water ordinances. Reclaimed wastewater information. Upgrade plumbing code. Incentives such as tax reductions, rebates. | Are alternatives to using potable water for outside irrigation, such as rainwater, grey water, and reclaimed wastewater, encouraged? | Required by code | Green | Pressurized irrigation ordinance requires that if surface water rights are available, they must be used for irrigation in new subdivisions.
| WaterSense labeled irrigation systems. | Is the use of high efficiency irrigation systems (such moisture sensors, drip vs. spray) encouraged? | Code silent, but typically allowed | Yellow
Score | Counts
Green | 1
Yellow | 3
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
D. WATER EFFICIENCY, CONSERVATION, AND MANAGEMENT
TOTALS
Green | 1
Yellow | 10
Red | 0
No Rating | 0

## E-Indoor Air Quality
SUSTAINABLE DESIGN AND GREEN BUILDING
E. INDOOR ENVIRONMENTAL AIR QUALITY
E.1. MINIMUM AIR QUALITY PERFORMANCE
Objective: To establish minimum IAQ performance to enhance the IAQ in a building.
Rationale: Enhancing IAQ increases the comfort, health, and overall wellbeing of the occupants. This in turn increases productivity, decreases absenteeism, reduces health care claims and minimizes remediation.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Provide for healthy indoor environmental air quality? | Residential: Most recent American National Standards Institute (ANSI)/ASHRAE Standard, such as 62.2. Indoor airPLUS Construction Specifications for homes. Commercial: Most recent ANSI/ASHRAE Standard, such as 62.1 or 2009 International Mechanical Code ventilation rates. System-level design outdoor airflow rates calculated based on the zone-level design outdoor airflow rates. | Are there minimum ventilation requirements that are protective of IAQ while minimizing energy loss? | Required by code | Green
| Minimum particulate matter filter ratings required. Permanent entryway track-off systems. Indoor airPLUS Construction Specifications for homes. | Are there requirements for controlling indoor particulate matter? | Code silent, but typically allowed | Yellow
| Smoking bans inside the building. Minimum setbacks of designated smoking areas from the building entrance. | Are smoking bans in place? | Required by code | Green
| Outdoor air delivery monitoring device requirements. Installation of ozone-removing filters in areas with high levels of outdoor ozone. Preventing air flow from garage into the building. Vapor barriers when indicated. Radon control systems or barriers when indicated. Indoor airPLUS Construction Specifications for homes. | Is outdoor air delivered in a manner that promotes occupant health? | Required by code | Green
Score | Counts
Green | 3
Yellow | 1
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
E. INDOOR ENVIRONMENTAL AIR QUALITY
E.2. LOW-EMITTING MATERIALS
Objective: To reduce the number of indoor air contaminants that could be irritating, harmful, or odorous to building occupants.
Rationale: Low-emitting materials release fewer Volatile Organic Compounds (VOCs) and other harmful chemicals into the air. These chemicals are found in higher concentrations indoors and can cause a variety of different health problems, such as eye, nose, and throat irritation; headaches; and kidney and liver damage.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Minimize occupant exposure to potentially irritating, harmful, or odorous air contaminants? | Minimum adhesives, sealant, paints and coatings emission requirements (as determined by applicable standards, such as California/ Department of Homeland Security/ Environmental Health Laboratory Branch-R-174 (CA/DHS/EHLB/R-174), Green Seal Standard GS-11, South Coast Air Quality Management District (SCAQMD) Rule 1113, or Green Seal Standard GC-36). Carpet, adhesives, and cushion qualify for Carpet and Rug Institute (CRI) Green Label Plus or Green Label testing program. Indoor airPLUS Construction Specifications for homes. | Are low-emitting materials encouraged for adhesives, sealants, paints, coatings, and aerosols? | Code silent, but typically allowed | Yellow
| Minimum floor covering emission requirements (as determined by applicable standards, such as CA/DHS/EHLB/R-174). Indoor airPLUS Construction Specifications for homes. | Are low-emitting materials encouraged for floor coverings? | Code silent, but typically allowed | Yellow
| Minimum composite wood and agrifiber product emission requirements (as determined by applicable standards, such as California Air Resource Board’s regulation, Airborne Toxic Control Measure to Reduce Formaldehyde Emissions for Composite Wood Products or CA/DHS/EHLB/R-174). Certified low-formaldehyde pressed wood materials used. Indoor airPLUS Construction Specifications for homes. | Are low-emitting materials encouraged for composite material? | Code silent, but typically allowed | Yellow
| Minimum office furniture system and seating emission requirements (as determined by applicable standards, such as ANSI/Business and Institutional Furniture Manufacturer’s Association (BIFMA) Standard M7.1). Indoor airPLUS Construction Specifications for homes. | Are low-emitting materials encouraged for office furniture systems and seating? | Code silent, but typically allowed | Yellow
| Minimum ceiling and wall system emission requirements (as determined by applicable standards, such as CA/DHS/EHLB/R-174). Indoor airPLUS Construction Specifications for homes. | Are low-emitting materials encouraged for ceiling and wall systems? | Code silent, but typically allowed | Yellow
| Foundation joints and penetrations sealed, including air-tight sump covers. Corrosion-proof rodent or bird screens installed at all openings that cannot be fully sealed (e.g., attic vents). | Is building design that minimizes pest exposure encouraged? | Required by code | Green
Score | Counts
Green | 1
Yellow | 5
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
E. INDOOR ENVIRONMENTAL AIR QUALITY
E.3. Moisture Control
Objective: To prevent moisture from entering the building system through the exterior shell of the building; planned holes, such as windows, light switches, and electrical outlets; and unplanned gaps and leaks due to poor building design or construction.
Rationale: Moisture entering the building is the primary reason for building deterioration. Controlling moisture can increase the building’s durability and longevity. Furthermore, moisture problems can lead to mold and other biological pollutants that can harm health. A variety of moisture control features, including improved control condensation and better roof, wall, and foundation drainage, can minimize these health risks.
Overarching Question: Do the codes/ordinances: | Potential Tools and Techniques | Specific Questions | Please choose one | Rating | Notes
Protect the building and occupants from moisture damage? | Ordinance requiring construction plans that include protecting absorptive materials from moisture damage during construction and installation. Indoor airPLUS Construction Specifications for homes. | Do construction requirements mitigate moisture damage? | Required by code | Green
| Air barriers. Housewraps. Capillary breaks below concrete slabs and in crawlspaces. Building continuous drainage planes behind exterior cladding, properly flashed to foundation. Damp or water-proof foundation walls. Insulated basement and foundation walls. Window and door openings and roof or wall intersections fully flashed. Indoor airPLUS Construction Specifications for homes. | Are provisions or technologies in place to mitigate moisture-related problems? | Required by code | Green
Score | Counts
Green | 2
Yellow | 0
Red | 0
No Rating | 0
SUSTAINABLE DESIGN AND GREEN BUILDING
E. INDOOR ENVIRONMENTAL AIR QUALITY
TOTALS
Green | 6
Yellow | 6
Red | 0
No Rating | 0

## All Sections Report
SUSTAINABLE DESIGN AND GREEN BUILDING
TOTALS | SUSTAINABLE SITES | MATERIALS AND RESOURCES | ENERGY AND ATMOSPHERE | WATER | INDOOR AIR QUALITY
Green | 16 | 2 | 5 | 1 | 6
Yellow | 16 | 7 | 7 | 10 | 6
Red | 0 | 0 | 0 | 0 | 0
No Rating | 0 | 0 | 0 | 0 | 0
SUMMARY TOTALS
Green | 30
Yellow | 46
Red | 0
No Rating | 0

## Assessment Scores (hidden)
Please choose one
Required by code
Incentivized
Expressly Allowed
Code silent, but typically allowed
Code silent, but typically not approved
Expressly Prohibited